@ The Edge Community Centre

Fire Regulations Policy

@ The Edge Community Centre will provide

a desirable and inclusive community venue of choice

to enable organisations and individuals

to partake in a wide range of recreational and social activities.

Fire Glass alarm points are situated in the:

- Lobby area (Adjacent to security panel)

- Café Area (Rear door)

- Kitchen

- Sports Hall (Rear emergency exit)

- Corridor (1 x located opposite kitchen door, 1 x located adjacent to rear emergency exit)

- Meeting room 1

- Meeting room 2

Fire Extinguishers and Fire blankets are situated:

- Outside office  - 1 x Carbon Dioxide, 1 x Foam

- Café (rear wall)  - 1 x Carbon Dioxide, 1 x Foam

- Corridor (near changing rooms) -  1 x Carbon Dioxide, 1 x Foam

- Meeting room 2  - 1 x Carbon Dioxide, 1 x Foam

- Kitchen – Wet Chemical and Fire Blanket

Instructions for the use of extinguishers are on the extinguishers, however please note:

- Water Extinguishers can be used on Class A fires: which involve organic solids such as paper

- Powder Extinguishers can be used on Class A fires (organic solids such as paper & wood), Class B fires (Flammable or combustible liquids), Class C fires (Flammable gasses) and Class E fires (electrical appliances)

- CO2 Extinguishers can be used on Class B fires (Flammable or combustible liquids) and Class E fires (electrical appliances).

PROCEDURE

- The first responsibility in the case of a fire is to ensure the safety of everyone in the community centre and thus rapid evacuation of the premises is vital.

- Whoever is in charge where the fire starts must evacuate the room or area immediately and activate the fire alarm.

- Upon verification of fire dial 999 for the Fire Brigade.

- Everyone on hearing the alarm should evacuate as follows:

  - Walk in an orderly fashion out of the building via the nearest fire exit.

  - Meet outside of the Coopers Edge School Entrance and await arrival of the emergency services (Safety Area)

  - If the school is open, advise office staff of situation.

- Where appropriate undertake a roll call to ensure all individuals have left the building.

- Hirers are responsible in ensuring that all of their group leave the building on hearing the alarm.

- The building must be reported “clear” by the Community Centre Manager before anyone re-enters the building.

- Nobody is to leave the safety area until permission has been given by the Community Centre Manager or emergency services.

OTHER ADDITIONAL PROCEDURES

- Should anyone’s clothing catch fire, the flames should be immediately smothered with a blanket or whatever suitable heavy material is readily available.

- A fire practice will take place on a regular basis (i.e. min three times per year) and will be timed and recorded in the Fire Drill Log Book by the Community Centre Administrator.

- Regular fire alarm testing to be undertaken & recorded in the Fire Safety Log Book minimum 3 times a month.

- Monthly visual inspection of firefighting equipment to be recorded in the Fire Safety Log Book.

- Monthly visual inspection of emergency lighting to be recorded in the Fire Safety Log Book

- FIRE SAFTY LOG BOOK to be kept in office, shelf above desk for reference.

- Annual inspection of all fire safety equipment carried out by EKE Security LTD

This policy is reviewed every two years, or before if necessary.

Review Date: June 2025