## Sheet1
What are the hazards? | Who might be harmed and how? | What are we already doing? | What further action is necessary? | Risk rating | Action by who? | Action by when?
Fire | All visitors to the hall and surrounding residents | Fire Alarm installed. Fire extinguishers in place and serviced. Fire instructions, exits and Fire doors in place. Heaters marked. Monthly Fire Alarm tests which are logged. Fire blanket and Fire log in Kitchen. Smoke detectors in kitchen tested monthly. Fire Exits illuminated. Five year Electrical Inspection undertaken and passed May 2023.Hall curtains treated with Flame retardant and certified until 2030. Annual PAT testing completed Oct2025. | Regular hall hirers should undertake a Fire drill to ensure they can evacuate the building quickly and assemble at the bottom of Orchard Close - opposite the hall. New No Smoking / Vaping signs in place within the hall. No candles or naked flames to be lit in or near the building. Fire doors working. Hirers requested to switch off all electrical appliances, other than the wall heaters and blinds when they leave the building. |  | VHMC | ISE Fire carry out 6 monthly checks on extinguishers and alarm. PAT required in Oct26. Old wooden table and chairs near kitchen fire exit to be taken to the tip. Oct 26. Cigarette boxes at enterance doors to be emptied Oct 26.
Flood/ water ingress | Fabric of the building and visitors | Electrical heating updated for remote control to prevent burst pipes. Guttering and windows cleaned and maintained. Drains kept clear. Monitoring of water bills. Annual plumber check and lagging of pipes undertaken Nov 25. | A preferred plumber has been found to attend at the hall when required. New hot water appliances installed in all toilets April 26. Plumber called to investigate ladies toilet and unblock waste pipe Aug26. |  | VHMC
Virus transmission- contractors, volunteers, Hirers | Virus transmission left on premises | Stay at home guidance if unwell at entrance and side door. Hand sanitisers available in the building. Handbook includes instructions to ventilate the building. | Hirers encouraged to ventilate the building during hires. New booking system to keep audit trail of hirers. Velux switches mounted on main hall wall for easy operation. Professional cleaning weekly. |  | VHMC | Monitoring by all. Sticker for humidifier switch under stage - Do not touch. Sept 26.
Slips/ trips and falls | All visitors to the hall and by-passers | Grip mats. Marked internal steps with handrail under stage. Weekly cleaning and inspection of floor surfaces inside building. Handrails fitted to external steps and ramp. Emergency lighting to external entrances. Tables and chairs to be securely stacked and stored on trolleys to prevent falling onto anyone. External steps and walkways pressure washed and steps re-painted. | Cleaner sweeps external steps and door ways. Main hall floor professionally cleaned and re-sealed Oct 24.Extra trolly's purchased to enable safe stacking of chairs with safety straps. Bonded toilet flooring and Kitchen floor to be monitored as in corners it is lifting. |  | VHMC | All visitors need to stack tables and chairs as instructed using safety straps.E-mail to be sent again to regular hirers to remind them of this. Steps down to understage need replacement luminous tape fixing. Oct 26.
Health & Safety | All visitors and users of the hall | Clear waste disposal systems in place. Food Hygiene posters displayed in kitchen. Good signage to direct users to First Aid kit and defibrillator. Hazardous substances kept in marked locked cupboards. Stacking tables and chairs using trolleys with safety straps. Emergency lighting checked and re-charging torches in case of lighting failure. Heaters remotely controlled and marked as HOT. All hangings on walls fitted with Perspex glass and secured to walls Outside areas maintained. Velux windows to allow for ventilation in main hall. Safeguarding and Equality & Inclusion Policies in place which are reviewed every 2 years. | First Aid kit and Accident book regularly checked. Expel air fan fitted with timer switch for under stage ventilation. Electrical meter checking undertaken by Treasurer monthly. WIFI kept on - notice in place. Hall conditions of hire e-mailed to all hirers. What 3 words displayed in both foyers. Weekly cleaning rota displayed. Regular hirers What's App group in place for ease of communication and feed back. |  |  | VHMC. Need to tidy up COSH cabinet and cleaning cupboard. Sept 26.Side foyer toilet extractor not working - electrician required to fix.
Public Liability | All visitors to the premises | Insurance cover for 5 Million pounds. Licences displayed. Users information via on-line system. | Insurance evidence letter displayed in hall. |  | LC | VHMC
Theft/ vandalism | All users and residents of Orlingbury | New door and window locks fitted. Postal fire basket fitted to letterbox. Regular monitoring of premises. Hall inventory taken and kept up to date | Regular change of key code to ensure entry to the building is by approved persons only. |  | VHMC | Monitoring by all. Kitchen back door/ fire exit - bottom lock needs attention. Oct 26.
Financial | All visitors, users and residents of Orlingbury | Monthly financial monitoring of income and expenditure. Designated savings account established. Comprehensive insurance cover maintained. A Reserves policy approved and in place. Annual Tote fundraiser operated. | Application for grants and financial assistance with specific activities. Marketing of the hall and its facilities. Online Lemon Booking system in place for invoicing and recording payments. |  | VHMC | Review of hire conditions and fees Sept 26.
Boundary walls collapsing | All visitors, and residents of Orlingbury | Boundary walls affected by frost and heave. Could cause collapse blocking exits. Garden maintained. | Monitoring. Written to neighbours to share cost of replacing damaged rear wall with fencing. Dec22, March 23, July 23, Sept 23.Nov. 25 Neighbours unable to contribute to repairs/ replacement.Local builder aware and will monitor. |  | VHMC | Monitoring by all. Side garden needs cutting back Oct 26.
Controls working well
Controls need monitoring
Controls required